## Constants and Presupposition
constants | [8 empty] | PV
|  |  |  | 130.8571 |  |  |  |  | Watts | iskr | usd | usd/W
[6 empty] | Ingolfur will take the lead on answering questions 1., 2. and 5. |  |  | 200W | 117165 | 892.0061 | 4.46 | https://www.netberg.is/vara/190w-solarsellupakki-med-ollu-kominn-a-ferdavagninn-eda-husbilinn/
energy price | 9.16 | kr/kwh | https://www.orkusalan.is/heimili |  |  | Rúnar has suggested that we’ll work with few different scenarios: |  |  | 400W | 233343 | 1776.4979 | 4.4412 | https://www.netberg.is/vara/380w-solarsellupakki-tvaer-190w-med-mppt-bt-med-asetningu/
freedom price | 0.07 | usd/kwh |  |  |  | avg. home |  |  | 800W | 398026 | 3030.2703 | 3.7878 | https://www.netberg.is/vara/760w-solarsellupakki-fjorar-190w-med-mppt-bt-med-asetningu/
[6 empty] | 5 kWh each day | [5 empty] | 4.2297
| Average diesel price 25.07.23 |  |  |  |  | 10 kWh each day
diesel | 305.3701 | kr/l | https://www.bensinverd.is/gsmbensin_web.php |  |  | 20 kWh each day. |  |  | WIND
freedom price | 2.33 | usd/l |  |  |  | With different sizes of wind turbines and solar panels: |  |  | watts | iskr | usd | usd/W
[6 empty] | 100W, |  |  | 600W | - | 1787.5 | 2.9792 | https://samras.is/products/e160i-600w | https://www.ecodirect.com/Kestrel-e160i-600W-12VDC-Off-Grid-Wind-Turbine-p/kestrel-e160i-12v.htm
| díselvél | https://www.ato.com/3kw-portable-diesel-generator |  |  |  | 250W, |  |  | 1000W | - | 11430 | 11.43 | https://www.australianwindandsolar.com/aws-wind-turbine-packages
tank | 16 | liter |  |  |  | 500W |  |  | 3300W | - | 16290 | 4.9364 | https://www.australianwindandsolar.com/aws-wind-turbine-packages
rated AC/output | 3 | kW |  |  |  | 1000W |  |  | 5000W | - | 19200 | 3.84 | https://www.australianwindandsolar.com/aws-wind-turbine-packages
lasts | 11.8 | hour |  |  |  | 5000W | [5 empty] | 3.9185
total | 35.4 | kWh |  |  |  | 10000W
19500
Generator cost to run | 1.0531 |  |  |  | battery | 1,28kWh | 85901 | kr.
generator cost | 1567.53 | usd |  |  | LiFePO4 |  | 656.4487 | usd
[5 empty] | 12,8V/100Ah | [5 empty] | 18480
assume westfjords, a remote place in iceland
assume constant discount rate of 3%
assume constant diesel price
assume constant energy price
assume year to model is 2023
1. How much diesel fuel savings can be expected, based on different: sizes of diesel generators, usage, sizes of batteries.
2. How much extra oil savings can be expected by adding wind turbines/solar cells?
5. How much reduction of CO2 emissions can be expected per year with the al-HES?

## q1
1. How much diesel fuel savings can be expected, based on different: sizes of diesel generators, usage, sizes of batteries.
assuming residential power output behavior with peak month in january
based on the same generator as alor (3kW)
| usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year)
| 5 | - | 44348 | 5 | 8*1kWh | 1701 | 5 | 3*5kWh | 1595
| 10 | - | 44348 | 10 | 15*1kWh | 1797 | 10 | 6*5kWh | 1686
| 20 | - | 44348 | 20 | 29*1kWh | 3045 | 20 | 15*5kWh | 2870
based on a generator twice as powerful as alors (6kW)
gen cost $2500
| usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year)
| 5 | - | 44348 | 5 | 8*1kWh | 1701 | 5 | 3*5kWh | 1595
| 10 | - | 44348 | 10 | 15*1kWh | 1797 | 10 | 6*5kWh | 1686
| 20 | - | 44348 | 20 | 29*1kWh | 3045 | 20 | 15*5kWh | 2871
based on a generator four times as powerful as alors (12kW)
gen cost $5000
| usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year)
| 5 | - | 44348 | 5 | 8*1kWh | 1701 | 5 | 3*5kWh | 1595
| 10 | - | 44348 | 10 | 15*1kWh | 1797 | 10 | 6*5kWh | 1686
| 20 | - | 44348 | 20 | 29*1kWh | 3045 | 20 | 15*5kWh | 2871
Seems to be that the fuel savings are entirely dependant on how much battery space you have available, and under what kind of demand those batteries are.
The batteries generally pay for themselves within 1 year

## q2
With different sizes of wind turbines and solar panels:
100W,
250W,
500W
1000W
5000W |  |  | All these systems are need batteries to be able to simulate with PV and wind turbines ( turb)
10000W |  |  | Software is UNUSABLE without batteries
100W, PV only |  |  |  | always exactly 1 PV unit
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 8*1kWh | 1620 | 3*5kWh | 1519
10 | - | 44348 |  | 16*1kWh | 1752 | 5*5kWh | 1645
20 | - | 44348 |  | 27*1kWh | 3012 | 15*5kWh | 2829
250W, PV only |  |  |  | always exactly 1 PV unit
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 8*1kWh | 1509 | 3*5kWh | 1418
10 | - | 44348 |  | 16*1kWh | 1696 | 5*5kWh | 1590
20 | - | 44348 |  | 27*1kWh | 2964 | 15*5kWh | 2787
~500W, PV only ( 440W cell) |  |  |  | always exactly 1 PV unit
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 8*1kWh | 1407 | 3*5kWh | 1321
10 | - | 44348 |  | 15*1kWh | 1645 | 6*5kWh | 1539
20 | - | 44348 |  | 27*1kWh | 2917 | 15*5kWh | 2743
1000W, turbine only
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 5*1kWh + 2xturb - gen | 0 | 5*5kWh + 1xturb | 35
10 | - | 44348 |  | 13*1kWh + 3xturb - gen | 0 | 3*5kWh + 2xturb - gen | 0
20 | - | 44348 |  | 23*1kWh + 6xturb - gen | 0 | 7*5kWh + 4xturb - gen | 0
~5000W, mixed system (3000W turb + 2475W PV) |  |  |  | always exactly 1 PV unit
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 5*1kWh + 1xturb | 10 | 2*5kWh + 1xturb - PV | 5
10 | - | 44348 |  | 5*1kWh + 1xturb - gen | 0 | 3*5kWh + 1xturb | 5
20 | - | 44348 |  | 19*1kWh + 1xturb | 208 | 8*5kWh + 1xturb | 15
~10000W, mixed system (5000w turb + 4400W PV) |  |  |  | always exactly 1 PV unit
usage (kWh) | battery (kWh) | spend (L/year) |  | battery (1kWh) | spend (L/year) | battery (5kWh) | spend (L/year)
5 | - | 44348 |  | 7*1kWh + 1xturb - PV | 5 | 1*5kWh + 1xturb | 20
10 | - | 44348 |  | 5*1kWh + 1xturb - gen - PV | 0 | 2*5kWh + 1xturb - PV | 25
20 | - | 44348 |  | 15*1kWh + 1xturb - gen - PV | 0 | 6*5kWh + 1xturb -PV | 10
usage (kWh) | setup (1kWh) | spend (L/year)
5 | 8*1kWh | 1620
10 | 16*1kWh | 1752
20 | 27*1kWh | 3012
usage (kWh) | setup (5kWh) | spend (L/year)
5 | 3*5kWh | 1519
10 | 5*5kWh | 1645
20 | 15*5kWh | 2829
usage (kWh) | mixed setup ( combined 10000W PV and turbine) | spend (L/year)
1kWh batteries
5 | 7*1kWh + 1*turbines - PV | 5
10 | 5*1kWh + 1*turbines - generator - PV | 0
20 | 15*1kWh + 1*turbines - generator - PV | 0
5kWh batteries
5 | 1*5kWh + 1*turbines | 20
10 | 2*5kWh + 1*turbines - PV | 25
20 | 6*5kWh + 1*turbines - PV | 10

## q5
With different sizes of wind turbines and solar panels:
100W,
250W,
500W
1000W
5000W
10000W
usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year) | usage (kWh) | battery (kWh) | spend (L/year)
5 | - | 44348 | 5 | 8*1kWh | 1701 | 5 | 3*5kWh | 1595
10 | - | 44348 | 10 | 15*1kWh | 1797 | 10 | 6*5kWh | 1686
20 | - | 44348 | 20 | 29*1kWh | 3045 | 20 | 15*5kWh | 2870

## diesel prices
Orkan | Bústaðavegur | 287.6
Orkan | Dalvegur | 287.6 | average
Orkan | Reykjavíkurvegur | 287.6 | 305.3701
Orkan | Suðurfell | 287.6
Atlantsolía | Kaplakriki | 287.7
Atlantsolía | Sprengisandur | 287.7
ÓB | Arnarsmári | 287.7
ÓB | Bæjarlind | 287.7
ÓB | Fjarðarkaup | 287.7
ÓB | Hamraborg | 287.7
ÓB | Klöpp | 287.7
N1 | Norðlingaholt | 287.9
N1 | Reykjavíkurvegur | 287.9
N1 | Skógarlind | 287.9
N1 | Norðurhella | 287.9
Orkan | Skemmuvegur | 306.2
Atlantsolía | Skemmuvegur | 306.3
N1 | Stórihjalli | 307.2
Orkan | Birkimelur | 309.1
Orkan | Eiðistorg | 309.1
Orkan | Fellsmúli | 309.1
Orkan | Garðabær | 309.1
Orkan | Gylfaflöt | 309.1
Orkan | Hraunbær | 309.1
Orkan | Hæðarsmári | 309.1
Orkan | Kleppsvegur | 309.1
Orkan | Klettagarðar | 309.1
Orkan | Kænan | 309.1
Orkan | Laugavegur | 309.1
Orkan | Miklabraut, norður | 309.1
Orkan | Miklabraut, suður | 309.1
Orkan | Salavegur | 309.1
Orkan | Skógarhlíð | 309.1
Orkan | Smárinn | 309.1
Orkan | Spöngin | 309.1
Orkan | Stekkjarbakki | 309.1
Orkan | Suðurströnd | 309.1
Orkan | Vatnagarðar | 309.1
Orkan | Vesturlandsvegur | 309.1
Atlantsolía | Bíldshöfði | 309.2
Atlantsolía | Búðarkór | 309.2
Atlantsolía | Háaleitisbraut | 309.2
Atlantsolía | Hafnarfjarðarhöfn | 309.2
Atlantsolía | Kirkjustétt | 309.2
Atlantsolía | Kjalarnes | 309.2
Atlantsolía | Knarrarvogur | 309.2
Atlantsolía | Kópavogsbraut | 309.2
Atlantsolía | Mosfellsbær | 309.2
Atlantsolía | Skeifan | 309.2
Atlantsolía | Skúlagata | 309.2
Atlantsolía | Starengi | 309.2
Atlantsolía | Öskjuhlíð | 309.2
ÓB | Barðastaðir | 309.2
ÓB | Bíldshöfði | 309.2
ÓB | Melabraut, Hafnarfirði | 309.2
ÓB | Snorrabraut | 309.2
ÓB | Suðurhella | 309.2
N1 | Fossvogur | 309.2
Olís | Álfheimar | 311.1
Olís | Ánanaust | 311.1
Olís | Garðabær | 311.1
Olís | Gullinbrú | 311.1
Olís | Mjódd | 311.1
Olís | Mosfellsbær, Langitangi | 311.1
Olís | Norðlingaholt | 311.1
Olís | Sæbraut | 311.1
N1 | Háholt | 311.2
N1 | Hringbraut | 311.2
N1 | Ártúnshöfði | 311.2
N1 | Bíldshöfði | 311.2
N1 | Borgartún | 311.2
N1 | Lækjargata - Hafnarfjörður | 311.2
N1 | Stóragerði | 311.2
N1 | Skógarsel | 311.2
N1 | Ægisíða | 311.2
N1 | Gagnvegur | 311.2
N1 | Ásvellir | 311.2

## inflation
Actual | 100 | 102.0247 | 103.3183 | 109.1114 | 113.667 | 123.4533 | 125.928 | 129.3588 | 134.4207 | 139.9888 | 149.7188 | 158.4927 | 184.4207 | 200.3375 | 205.5681 | 216.3105 | 226.0967 | 234.3645 | 236.7829 | 241.5073 | 246.5692 | 250.8436 | 258.9989 | 265.9168 | 275.1969 | 288.5264 | 315.4668
|  | 2.025% | 1.268% | 5.607% | 4.175% | 8.61% | 2.005% | 2.724% | 3.913% | 4.142% | 6.951% | 5.86% | 16.36% | 8.631% | 2.611% | 5.226% | 4.524% | 3.657% | 1.032% | 1.995% | 2.096% | 1.734% | 3.251% | 2.671% | 3.49% | 4.844% | 9.337%
| ár | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
26
Mean applied | 100 | 104.5179 | 109.2398 | 114.1751 | 119.3334 | 124.7247 | 130.3596 | 136.2491 | 142.4047 | 148.8383 | 155.5626 | 162.5907 | 169.9364 | 177.6139 | 185.6382 | 194.0251 | 202.7909 | 211.9527 | 221.5284 | 231.5368 | 241.9973 | 252.9304 | 264.3575 | 276.3008 | 288.7837 | 301.8305 | 315.4668
|  | 100*exp(26*x) | = | 315.4668
|  | x | = | ln(315.4668/100)/26
|  | mean inflationary rate : | 4.419%
[22 empty] | rfr | 0.062816
|  | 2016: 1555 | [21 empty] | 0.00014206
[21 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
[21 empty] | 53.6207 | 110.6096 | 171.1783 | 235.5517 | 303.9688 | 376.6835 | 453.9659 | 536.1028 | 623.3992 | 716.1793 | 814.7873 | 919.5895 | 1030.975 | 1149.3572 | 1275.1757 | 1408.8976 | 1551.0193 | 1702.0686 | 1862.6061 | 2033.2279 | 2214.5674 | 2407.298 | 2612.135 | 2829.8391 | 3061.2184 | 3307.132 | 3568.4929 | 3846.2714 | 4141.4987
[21 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
[21 empty] | 752.2 | 799.4501 | 849.6682 | 903.0408 | 959.766 | 1020.0545 | 1084.13 | 1152.2305 | 1224.6088 | 1301.5336 | 1383.2905 | 1470.183 | 1562.5338 | 1660.6856 | 1765.0029 | 1875.873 | 1993.7075 | 2118.9438 | 2252.047 | 2393.5112 | 2543.8615 | 2703.6562 | 2873.4886 | 3053.9891 | 3245.8279 | 3449.7172 | 3666.414 | 3896.7228 | 4141.4986
| -0.12 | -0.115 | -0.11 | -0.105 | -0.1 | -0.095 | -0.09 | -0.085 | -0.08 | -0.075 | -0.07 | -0.065 | -0.06 | -0.055 | -0.05 | -0.045 | -0.04 | -0.035 | -0.03 | -0.025 | -0.02 | -0.015 | -0.01 | -0.005 | 0 | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | 0.055 | 0.06 | 0.065 | 0.07 | 0.075 | 0.08 | 0.085 | 0.09 | 0.095 | 0.1 | 0.105 | 0.11 | 0.115 | 0.12
| 414.8885 | 428.1883 | 442.0646 | 456.5278 | 471.5847 | 487.2374 | 503.4825 | 520.3094 | 537.699 | 555.6223 | 574.0376 | 592.8892 | 612.1037 | 631.5878 | 651.224 | 670.8671 | 690.3392 | 709.4243 | 727.8625 | 745.3426 | 761.4944 | 775.8794 | 787.9808 | 797.1913 | 802.8 | 803.9773 | 799.7578 | 789.0206 | 770.468 | 742.5999 | 703.6867 | 651.7374 | 584.4642 | 499.2423 | 393.0657 | 262.4959 | 103.606 | -88.0833 | -317.6751 | -590.9756 | -914.5842 | -1295.993 | -1743.6989 | -2267.3287 | -2877.7784 | -3587.3694 | -4410.0217 | -5361.4479 | -6459.3691
[12 empty] | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 0.062816 | 1: 0.062816
[12 empty] | -7000 | -6000 | -5000 | -4000 | -3000 | -2000 | -1000 | 0 | 1000 | 1: 2000